REQUEST FOR PROPOSALS

# Repair and Replacement of Doors

# at

# Weslaco High School

(PROPOSAL # 20-12-05)

Proposal Due Date:  Tuesday, November 19, 2019

Proposal Due Time:	3:00 P.M.

Original Copy

Vendor Submitting Bid Package Name:_____________________________________ City:____________________ State:__________

Contact Person:

Baldemar Garcia, Director of Purchasing

Weslaco ISD – Purchasing Department

312 W. 5th Street

Weslaco, Texas 78596

956-969-6572

Attachments: Exhibit 1

November 5, 2019

To All Vendors:

The Weslaco Independent School District is accepting proposals for:

# REPAIR AND REPLACEMENT OF DOORS AT WESLACO HIGH SCHOOL

(PROPOSAL # 20-12-05)

Proposals are to be mailed or hand delivered to: Baldemar Garcia, Director of Purchasing, Weslaco Independent School District, 312 W. Fifth Street, Weslaco, Texas 78596.  Please mark your envelope plainly:  “Repair and Replacement of Doors at Weslaco High School (Proposal # 20-12-05), Due Date: Tuesday, November 19, 2019 at 3:00 p.m.”  Responses sent by overnight mail should have the proposal # written on the delivery ticket.

Due Date: 	Proposals will be accepted until 3:00 p.m. on Tuesday, November 19, 2019, at which time they

will be opened.  Proposals will be opened, but not read publicly, at the Business Office 	Conference 	Room, located in the WISD Business Office, 312 W. Fifth Street, Weslaco, Texas.  	Any proposals received late will be returned unopened.  Weslaco ISD is not responsible for 	proposals misplaced or mailed incorrectly.

All items are requested as specified or equal (page 6).  The awarding of the proposal will take place at a public school board meeting.  The Board of Education reserves the right to accept, reject any and/or all proposals, waive minor technicalities, or to award the proposal to the most responsible offeror which best serves the interest of, and provides the best value to, the District.

Please fill out, sign and date the enclosed and attached forms and return them with the proposal response package.

Sincerely,

-Original Signed-

Priscilla Canales, Ph.D.

Superintendent

-Original Signed-

Andres Sanchez Jr., CPA

Assistant Superintendent of Business & Finance

WESLACO INDEPENDENT SCHOOL DISTRICT

# REPAIR AND REPLACEMENT OF DOORS AT WESLACO HIGH SCHOOL

(PROPOSAL # 20-12-05)

TABLE OF CONTENTS

THIS SHEET DOES NOT HAVE TO BE RETURNED

DESCRIPTION OF ITEM                                                       	 PAGE

1.	STANDARD TERMS & CONDITIONS	5-7

2. 	FELONY CONVICTION NOTIFICATION                	8

3. 	PROPOSAL SPECIFICATIONS REQUIREMENT FORM        	9

4. 	EVALUATION CRITERIA 	10

5.   INSURANCE REQUIREMENTS                                                              11

6.  ITEM SPECIFICATIONS & PRICE SHEETS	12-25

7.  REFERENCE SHEET                                                                                 26-27

8.  NON-COLLUSION STATEMENT & SIGNATURE SHEET     	28

9.  CONFIDENTIAL DISCLOSURE STATEMENT                                      29-30

10.  INTENT TO SUBMIT PROPOSAL PAGE                                     	31

11.  OTHER REQUIRED FORMS LIST	32

## WESLACO INDEPENDENT SCHOOL DISTRICT

# REPAIR AND REPLACEMENT OF DOORS AT WESLACO HIGH SCHOOL

(PROPOSAL # 20-12-05)

PROPOSAL PACKAGE CHECKLIST FOR VENDORS

THIS SHEET DOES NOT HAVE TO BE RETURNED

IN ORDER FOR YOUR PROPOSAL TO BE CONSIDERED IN THE PROPOSAL PROCESS, THE FOLLOWING ITEMS ARE REQUIRED TO BE INCLUDED IN THE PROPOSAL PACKAGE:

SUBMITTED TO

WESLACO ISD

DESCRIPTION OF ITEM                                                              YES         NO        N/A

1.  STANDARD TERMS & CONDITIONS                                       	______   ______   ______

(Fill in ALL blank lines as needed, Pages 5-7).

2.  FELONY CONVICTION NOTIFICATION                                  	______   ______  ______

(One (1) of the appropriate sections - A, B or C

must be checked off, Page 8).

3.  PROPOSAL SPECIFICATION REQUIREMENT FORM           	______   ______  ______

(Fill in ALL blank lines as needed, Page 9).

4.  EVALUATION CRITERIA (Page 10)	______   ______  ______

5.  INSURANCE REQUIREMENTS (Page 11)	______   ______   ______

6.  PROPOSAL FORMS & SPECIFICATIONS should have              	______   ______   ______

ALL lines filled in as needed (Pages 12-25).

7.  REFERENCES (Page 26-27)                                                            	______  _______  ______

8.  NON-COLLUSION STATEMENT & SIGNATURE SHEET       	______   ______   ______

(Fill in blank lines on form completely and sign form. Page 28)

9.  CONFIDENTIAL DISCLOSURE STATEMENT (pages 29-30	______   ______   ______

- PLEASE SUBMIT THE WHOLE PACKAGE EVEN IF NOT PROPOSING ON ALL ITEMS

- FAILURE TO MANUALLY SIGN THE PROPOSAL WILL DISQUALIFY IT.)**

WESLACO INDEPENDENT SCHOOL DISTRICT

# REPAIR AND REPLACEMENT OF DOORS AT WESLACO HIGH SCHOOL

(PROPOSAL # 20-12-05)

STANDARD TERMS AND CONDITIONS

NOTICE TO OFFERORS

ITEMS BELOW APPLY TO AND BECOME A PART OF TERMS AND

CONDITIONS OF THIS PROPOSAL UNLESS SUPERSEDED BY ANY ATTACHED

TERMS AND SUPPLEMENTAL CONDITIONS OR SPECIFICATIONS

IN WHICH CASE ATTACHED CONDITIONS WILL PREVAIL

ANY EXCEPTIONS MUST BE IN WRITING

1.  	Proposals should be submitted on this form and continued on any attached list(s) of items offered.  Each proposal shall be placed in a separate envelope, sealed and properly identified with the proposal title, proposal number and date to be opened.  Responses sent by overnight mail should have the proposal  number  written on the delivery ticket.

2.	Proposals must be received in the Business Department office before the hour and date specified.  	Late proposals will not be considered under any circumstances and will be returned unopened.

3.  	Proposals must have original signatures.  Faxed proposal responses will not be accepted.

4.  	Proposal prices should be F.O.B., Weslaco ISD, WESLACO, TEXAS, Freight Prepaid

(inside delivery).

5.  	Deliveries under terms of the request for sealed proposals will be in accordance with the dates

Indicated therein.  Whenever a date is not indicated, the vendor will enter the earliest date which 	can be assured.  If delays are foreseen, written notice shall be given to the District.  	Extensions to 	complete orders will be considered as failure to meet delivery dates, and may result in removal of 	the vendor from the approved vendors list.  All goods are subject to inspection and re-work will be 	at the expense of the vendor if found to be inferior to those specified.

6.  	Delivery shall be made during normal working hours unless prior approval has been obtained from the district.

7.  	Unit Price & Extended Cost:  The unit cost entered and the extended cost provided is solely the responsibility of the vendor submitting this proposal.  Offer unit price on quantity and if specified extend and show the total.  In case of error in extension the item in question will not be included as part of your proposal.  Weslaco ISD will not enter or correct extended costs.

8.    Proposal prices must be firm for acceptance for ninety (90) days from proposal opening date.  No proposals may be withdrawn without written approval after a contract has been signed, or partial performance of the proposal agreement has begun.

# REPAIR AND REPLACEMENT OF DOORS AT WESLACO HIGH SCHOOL

(PROPOSAL # 20-12-05)

9.  	Failure to manually sign proposal will disqualify it.  Person signing proposal should show      	title or authority to bind their firm to a contract.

10. 	The district is exempt from Federal Excise Tax, State Tax and Local Tax.  Do not include tax in proposal.  If it is determined that tax was included in the proposal, it will not be included in the tabulation or any awards.  Tax exemption certificates will be furnished upon request.

11. 	Any catalog, brand name or manufacturer's reference used in the proposal request is descriptive - not restrictive - it is intended to indicate type and quality desired.

Proposals on brands of like nature and quality will be considered.  If proposing on other than reference specifications, proposal must include manufacturer, brand, model, etc. of article offered.  If brand other than that specified is offered, complete descriptive information of said article must be included with the proposal.  If offeror takes no exception to specifications of reference data, brand names, models, etc., “as specified” must be furnished.

12. 	All items offered should be designated "as specified" or "equal".

13. 	On items designated "equal", samples must be furnished within five (5) working days after proposal opening at no cost to the district, if requested.  If not destroyed in examination they will be returned to the offeror(s) upon request at the offeror’s expense.

14. 	All items offered must be new, in first class condition, including containers suitable for shipment and storage, unless otherwise indicated on the proposal.  Failure to submit requested samples may be terms for not considering the proposed item.

15. 	The District reserves the right to accept or reject all or any part of any proposal, waive minor technicalities and award the proposal to best serve the interest of the District.

16. 	The District reserves the right to purchase additional quantities or services, not to exceed 100% of quantities or dollar amounts listed, throughout the proposal period as listed on this proposal subject to conditions of this proposal.  All purchases will be made contingent on the availability of funds.

17. 	During the performance of this contract, the contractor agrees not to discriminate against any employee or applicant for employment because of race, color, national origin, age, religion, gender, marital or veteran status, or handicapping conditions.

18. 	No Proposal:  All proposal forms should be signed, as needed, and returned even if offeror is 	unable to submit a proposal at this time, but wishes to remain on offeror’s list.

19. 	Awarding of Proposal:  This proposal will be awarded to only one vendor.  The offeror with the best value to the district based on the award criteria listed in this proposal will be awarded this contract.

# REPAIR AND REPLACEMENT OF DOORS AT WESLACO HIGH SCHOOL

(PROPOSAL # 20-12-05)

20. 		Service Orders:  Service needed will be indicated on the signed purchase order(s) to be submitted by the Weslaco Independent School District.

21. 		Insurance Requirements:  See Page 11.

22. 		Indemnification:  Contractor agrees to indemnify, defend (at District’s option), and hold harmless the District, its officials, administrators, and other employees from and against any and all claims, demands, defense costs, liability, or consequential damages of any kind or nature arising out of or in connection with the contractor’s (or contractor’s subcontractors, if any) performance or failure to perform under the terms of this contract excepting liability actions arising out of the SOLE NEGLIGENCE of the District.

23. 		Venue:  Any disputes or litigation that could arise related to this proposal shall have as Venue Hidalgo County in the State of Texas.

24. 		Payment Terms:  Payment for services acquired under this proposal will be paid “net, 30 days,” after satisfactory receipt of services ordered, or receipt of invoice, whichever occurs later.

25. 		Term of Contract:  The term of the contract will be for one (1) year effective December 10, 2019, or after Board approval, whichever occurs last.  This contract is conditioned on a best efforts attempt by the Board to obtain and appropriate funds for payment of the contract.

26.	Background Check & Fingerprinting – due to Senate Bill (SB) 9 you will be required to submit paperwork that will allow Weslaco ISD to do a background check on any person(s) working on your behalf within our school district.  Furthermore, you may also be required to submit fingerprints to the Texas Department of Safety (DPS) and authorize the school district to process a background check using these fingerprints.

______________                               _____________________________

Date                                                Company Name

WESLACO INDEPENDENT SCHOOL DISTRICT

# REPAIR AND REPLACEMENT OF DOORS AT WESLACO HIGH SCHOOL

(PROPOSAL # 20-12-05)

FELONY CONVICTION NOTIFICATION

State of Texas Legislative Senate Bill No. 1, Section 44.034, Notification of Criminal History, Subsection (a), states  “a person or business entity that enters into a contract with a school district must give advance notice to the district if the person, owner or operator of the business entity has been convicted of a felony.  The notice must include a general description of the conduct  resulting in the conviction of a felony.”

Subsection (b) states “a school district may terminate a contract with a person or business entity if the district determines that  the person or business entity failed to give notice as required by Subsection (a) or misrepresented the conduct resulting in the conviction.  The district must compensate the person or business entity for services performed before the termination of the contract.”

THIS NOTICE IS NOT REQUIRED OF A PUBLICLY-HELD CORPORATION, BUT THE COMPANY

REPRESENTATIVE MUST CHECK OFF A SELECTION BELOW (A, B, OR C)

I, the undersigned agent for the firm named below, certify that the information concerning notification of felony convictions has been reviewed by me and the following information furnished is true to the best of my knowledge.

VENDOR’S NAME: ________________________________________________________________________________

AUTHORIZED COMPANY OFFICIAL’S NAME (PRINTED): ________________________________________________

*****  PLEASE CHECK OFF A SELECTION BELOW  *****

(     ) A.  My firm is a publicly-held corporation, therefore, this reporting requirement is not applicable.

(     ) B.  My firm is not owned and/or operated by anyone who has been convicted of a felony.

(     ) C.  My firm is owned or operated by the following individual(s) who has/have been convicted of a felony:

Name of Felon(s):_____________________________________________________________________________

Details of Conviction(s):_________________________________________________________________________

______________                 ________________________

Date                                      Company Name

#### WESLACO INDEPENDENT SCHOOL DISTRICT

# REPAIR AND REPLACEMENT OF DOORS AT WESLACO HIGH SCHOOL

(PROPOSAL # 20-12-05)

PROPOSAL SPECIFICATION REQUIREMENTS

TO BE FILLED IN BY OFFEROR AND SUBMITTED WITH PROPOSAL

Is this proposal in conformance with the enclosed specifications?

Yes _____     No _____

If the answer is no, offeror must identify and explain each exception taken, with reference to each page and paragraph to which the exception will apply.

It should be understood that if no exception is taken the vendor shall supply all items as specified at the time of sale.  Failure to indicate any difference in products offered proposed in this proposal may be deemed sufficient grounds for rejection of a vendor's proposal.

Comments: ___________________________________________________________________

_____________________________________________________________________________

_____________________________________________________________________________

_____________________________________________________________________________

_____________________________________________________________________________

_____________________________________________________________________________

_____________                 __________________________

Date                                      Company Name

WESLACO INDEPENDENT SCHOOL DISTRICT

# REPAIR AND REPLACEMENT OF DOORS AT WESLACO HIGH SCHOOL

(PROPOSAL # 20-12-05)

For further information, please contact:

Baldemar Garcia

Director of Purchasing

bgarcia@wisd.us

Weslaco Independent School District

312 W. Fifth Street

Weslaco, Texas 78596

(956) 969-6572 / FAX (956) 969-6565

AWARD CRITERIA

According to the Texas Education Code, Subchapter B, Section 44.031 (b), in determining to

whom to award a contract, the district shall consider the following:

| No. | Criteria | Points |
| --- | --- | --- |
| 1 | the purchase price – Cost of services offered | 40 points |
| 2 | reputation of the vendor and of the vendor’s goods or services – References | 20 points |
| 3 | the quality of the vendor’s goods or services – Experience and qualifications of Technicians | 15 points |
| 4 | the extent to which the goods or services meet the district’s needs – brand of material being proposed | 20 points |
| 5 | the vendor’s past relationship with the district | 5 points |
| 6 | the impact on the ability of the district to comply with the laws and rules relating to Historically Underutilized Business | Not applicable |
| 7 | total long-term cost to the district to acquire the vendor’s goods or services | Not applicable |
| 8 | whether the vendor or the vendor’s ultimate parent company or majority owner: (A) has its principal place of business in this state; or, (B) employs at least 500 persons in this state; and, | 0 points |
| 9 | any other relevant factor specifically stated in the request for bids or proposals | Not applicable |
|  | Total (maximum) | 100 points |

WESLACO INDEPENDENT SCHOOL DISTRICT

# REPAIR AND REPLACEMENT OF DOORS AT WESLACO HIGH SCHOOL

(PROPOSAL # 20-12-05)

ADDITIONAL PROPOSAL REQUIREMENTS

Insurance Requirements:  The contractor shall not commence work under this contract until contractor has obtained all the insurance required hereunder and certificates of such insurance have been filed with and approved by the Assistant Superintendent of Business & Finance or the District’s Director of Risk Management.  Approval of the insurance certificates by the District shall not relieve or decrease the liability of the contractor.  Each insurance policy shall contain a provision that at least 30 days written notice will be given to the District in the event of cancellation or material change.  The contractor’s certificate of insurance in force, submitted prior to start of services or construction, shall include a notice that the policies do contain these provisions.

The contractor shall provide and maintain, until the work covered in this contract is completed and accepted by the District, the minimum insurance coverage as follows:

Type of Coverage                                                         Limits of Liability

1.  Workmen’s Compensation                                     	Statutory            	$100,000

2.  Comprehensive General Liability

a) Bodily Injury                                                          $300,000              	$500,000

each person          	each occurrence

b)  Property Damage                                                  $100,000               	$300,000

each occurrence    	aggregate

3.  Comprehensive Automobile Liability

a) Bodily Injury                                                          $300,000              	$500,000

each person          	each occurrence

b)  Property Damage                                                                                 	$300,000

each occurrence

With respect to all of the above insurance, The Weslaco Independent School District shall:

- be named as an additional insured (Commercial General Liability and Automobile Liability 	only);

b)   be provided with 30 days advance notice, in writing, of cancellation or material change; and

c)   be provided with Certificates of Insurance evidencing the above required insurance.

PROOF OF CURRENT INSURANCE FOR ALL THREE (3) COVERAGES REQUESTED MUST BE SUBMITTED WITH PROPOSAL, EVEN IF THE CURRENT COVERAGE LIMITS ARE NOT THE SAME AS THOSE REQUESTED.  FURTHERMORE, CONTRACTOR INDICATES INTENTIONS TO PROVIDE THE REQUESTED INSURANCE COVERAGES IF AWARDED THE PROPOSAL CONTRACT.

_________                 __________________________

Date                                       Company Name

#### WESLACO INDEPENDENT SCHOOL DISTRICT

# REPAIR AND REPLACEMENT OF DOORS AT WESLACO HIGH SCHOOL

(PROPOSAL # 20-12-05)

Scope of Work

This proposal is for door repair and or replacements at Weslaco High School.  The doors are specifically located in the G-Wing and the Sepulveda Gymnasium.  Listed below is specifics as to the work being requested.

Note: Definition of “Set” in this proposal means a double door entry way.

- Replacement of six (6) sets of double doors –

- Two (2) sets -  at the Weslaco High School G–Wing; and,

- Four (4) sets – at Sepulveda Gymnasium Complex.

This includes the replacement of all existing center mullions and the addition of center mullions to the doors that do not have them.

- A total of three (3) center mullions shall be key removable type.

- One (1) at the G-Wing - west side doors shall have one key removable mullion installed.

- Two (2) at the Sepulveda Gymnasium – one at the southwest double door set and one on the northwest double door set.

- The rest of the center mullions shall be regular type.

- All door hardware shall be Von Duprin brand where applicable.

- The Sepulveda Gymnasium doors are bronze, and the G-Wing doors are aluminum.

- Replace all site lite glass as indicated on the sketches.  The doors for the Sepulveda Gymnasium shall include glass to match existing.  The G-Wing additional glass indicated to be replaced shall match the door glass provided.

- No frames are to be replaced at this time.  The sketches show frames but are for reference purposed only.

- The contractor is responsible for and shall field verify all dimensions provided.

- Refer to the sketches attached – Exhibit #1.

PART 1 - HARDWARE

1.01	DESCRIPTION OF WORK

A.	Work under this section comprises of furnishing and installing hardware specified herein and noted on drawings for a complete and operational system, including any electrified hardware components, systems, controls and hardware for aluminum entrance doors.  Any door shown on the drawing and not specifically referenced in the hardware sets shall be provided with identical hardware as specified on other similar openings and shall be included in the finish hardware suppliers bid. All fire rated door shall be provided with fire rated hardware as required by local code Authority as part of the hardware supplier’s base bid. The hardware supplier shall verify all cylinder types specified for locking devices supplied as part of the door system with the door manufacturer and/or door supplies.

B.	The General Contractor and Hardware Supplier shall notify the Architect and/or Weslaco ISD in writing of any discrepancies (five (5) days prior to bid date) that could and/or would result in hardware being supplied that is none functional, hardware specified and/or hardware that has not been specified that will result in any code violations and any door that is not covered in this specification. Failure of the general contractor and hardware supplier to address any such issue shall be considered acceptance of the hardware specified and all discrepancies shall be corrected at the general contractor’s and hardware supplier’s expense and considered a part of their base bid. Change orders shall not be issued if deemed by the Architect and/or Weslaco ISD to fall under and/or be covered as a part of the supplier’s base bid, due to failure to comply with this instruction notification.

C.	Items include but are not limited to the following:

1.	Hinges - Pivots

2.	Flush Bolts

3.	Exit Devices

4.	Locksets and Cylinders

5.	Push Plates - Pulls

6.	Coordinators

7.	Closers

8.	Kick, Mop and Protection Plates

9.	Stops, Wall Bumpers, Overhead Controls

10.	Electrified Hold Open Devices

11.	Thresholds, Seals and Door Bottoms

12.	Silencers

13.	Miscellaneous Trim and Accessories

1.02	RELATED DOCUMENTS, drawings and general provisions of contract, including General and Supplementary Conditions, apply to this section.

1.03	RELATED WORK specified elsewhere that should be examined for its effect upon this section:

A.	NONE

1.04	REFERENCES SPECIFIED in this section subject to compliance as directed:

A.	NFPA-80 - Standard for Fire Doors and Windows

B.	NFPA-101 - Life Safety Code

C.	ADA - The Americans with Disabilities Act - Title III - Public

Accommodations

D.	ANSI-A 117.1 - American National Standards Institute - Accessible and

Usable Buildings and Facilities

E.	ANSI-A 156.5 - American National Standards institute -Auxiliary Locks and Associated Products

F.	UFAS - Uniform Federal Accessibility Standards

G.	UL - Underwriter’s Laboratories

H.	WHI - Warnock Hersey International, Testing Services

I.	State and Local Codes including Authority Having Jurisdiction

J.	UL10C – Positive Pressure

K.	IBC-2009/2012– International Building Code

L.	NFPA-70 – National Electrical Code

1.05	SUBMITTALS

A.		HARDWARE SCHEDULES submit copies of schedule in accordance with Division 1, General Requirements. Schedule to be in vertical format, listing each door opening, including: handing of opening, all hardware scheduled for opening or otherwise required to allow for proper function of door opening as intended, and finish of hardware. At doors with door closers or door controls include degree of door opening. Supply the schedules all Finish Hardware within two (2) weeks from date purchase order is received by the hardware supplier.

B.		Submit manufacturer’s cut/catalog sheets on all hardware items and any required special mounting instructions with the hardware schedule.

C.	Certification of Compliance:

1.	Submit any information necessary to indicate compliance to all of these specifications as required.

2.	Submit a statement from the manufacturer that electronic hardware and systems being supplied comply with the operational descriptions exactly as specified.

D.	Submit any samples necessary as required by the Architect.

E.		Templates for finish hardware items to be sent to related door and frame suppliers within three (3) working days of receipt of approved hardware schedule.

F.	Doors and Frames used in positive pressure opening assemblies shall meet UL10C in areas where this specification includes Seals for smoke door.

1.06	QUALITY ASSURANCE

A.	Hardware supplier to be a qualified, Factory Authorized, direct distributor of the products to be furnished. In addition, the supplier to have in their regular employment an AHC or AHC /CDC and/or a person of equivalent experience (minimum fifteen (15) years in the industry) who will be made available at reasonable times to consult with the Architect/Contractor and/or Weslaco ISD regarding any matters affecting the finish hardware on this project.

B.	All hardware used in labeled fire or smoke rated openings to be listed for those types of openings and bear the identifying label or mark indicating UL. (Underwriter’s Laboratories) approved for fire. Exit devices in non-labeled openings to be listed for panic.

1.07	DELIVERY, HANDLING AND PACKAGING

A.	Furnish all hardware with each unit clearly marked and numbered in accordance with the hardware schedule. Include door and item number for each.

B.	Pack each item of hardware completes with all necessary parts and fasteners.

C.	Properly wrap and cushion each item to prevent scratches and dents during delivery and storage.

1.08	SEQUENCING AND SCHEDULING

Any part of the finish hardware required by the frame or door manufacturers or other suppliers that 	is needed in order to produce doors or frames is to be sent to those suppliers in a timely manner, 	so as not to interrupt job progress.

1.09	WARRANTY

All finish hardware shall be supplied with a Two- (2) year warranty against defects in materials and 	workmanship, commencing with substantial completion of the project except as follows:

1. All Closers are to have a thirty- (30) year written warranty.

2. All Exit Devices are to have a three- (3) year written warranty.

3. All Locksets are to have a ten- (10) year written warranty.

4. All Continuous are to have a ten- (10) year written warranty.

##### PART 2 – PRODUCTS

2.01	FASTENERS

A.	Furnish with finish hardware all necessary screws, bolts and other fasteners of suitable size and type to anchor the hardware in position for a long life under hard use.

B.	Furnish fastenings where necessary with expansion shields, toggle bolts and other anchors designated by the Architect according to the material to which the hardware is to be applied and the recommendations of the hardware manufacturer. All closers and exit devices on labeled wood doors shall be through-bolted if required be the door manufacturer. All thresholds shall be fastened with wood screws and plastic anchors. Where specified in the hardware sets, security type fasteners of the type called for are to be supplied.

- Design of all fastenings shall harmonize with the hardware as to material and finish.

D.	All hardware shall be installed with the Manufacturers standard screws as provided. The use of any other type of fasteners shall not be permitted. The general contractor shall provide wood blocking in all stud walls specified and/or scheduled to receive wall stops, No Exception.

2.02	ENVIRONMENTAL CONCERN FOR PACKAGING

The hardware shall be shipped to the job site, packaged in biodegradable packages as supplied by 	the hardware manufacturer.

2.03	HINGES

A.	All hinges to be of one manufacturer as hereafter listed for continuity and consideration of warranty. Provide one of the following manufacturers Ives, Hager or Stanley.

- Unless otherwise specified provide five-knuckle, heavy-duty, button tip, full mortise template type hinges with non-rising loose pins. Provide non-removable pins for out swinging doors at secured areas or as called for in this specification (Refer to 3.02 Hardware Sets).

C.	Provide out-swinging door hinges with non-removable pins or security studs as called for in 3.02 Hardware Sets.

D.	Furnish three (3) hinges up to 90 inches high and one (1) additional hinge for every 30 inches or fraction thereof.

E.	Provide size 4½” x 4½” for all 1¾” thick doors up to and including 36 inches wide. Doors over 1¾” through 2¼” thick, use 5” x 5” hinges. Doors over 36 inches use 5” x 4½” unless otherwise noted in 3.02 Hardware Sets.

F.	Were required to clear the trim and/or to permit the doors to swing 180 degrees furnish hinges of sufficient throw.

G.	Provide heavy weight hinges on all doors over 36 inches in width.

H.	At labeled door’s steel or stainless steel, bearing-type hinges shall be provided. For all doors equipped with closers provide bearing-type hinges.

I.	Finishes

1.	At wood doors, hinges are to be plated to match adjacent hardware or as called for in 3.02 Hardware Sets.

- At hollow metal doors, hinges are to be brass, bronze, aluminum, steel or stainless steel at exterior out-swinging doors, unless otherwise specified in 3.02 Hardware Sets.

J.	Continuous hinges shall be Ives 112XY as specified or equal products manufactured by Select and/or ABH.

2.04	LOCK AND LOCK TRIM

- All of the locksets, latch sets, and trim to be of one manufacturer as hereafter listed for continuity of design and consideration of warranty. Locksets specified are Schlage “ND” series with the Rhodes lever and have been specified to match the existing district standards.

B.	Provide metal wrought box strike boxes and curved lip strikes with proper lip length to protect trim of the frame, but not to project more than 1/8 inch beyond frame trim or the inactive leaf of a pair of doors.

C.	Mechanical Locks shall meet ANSI Operational Grade 1, Series 4000 as specified.

1.	Hand of lock is to be field reversible or non-handed.

2.	All lever trim is to be through-bolted through the door.

3.	Provide ¾” latch bolt throw (14-042) with all locks specified for pairs of doors.

4.	Provide 3-3/4” back set (14-028) at all door specified with sound and/or light seals.

2.05	CYLINDERS AND KEYING

A.	Provide locks and Exit devices requiring cylinders with Schlage Classic Keyway cylinder key system and comply with performance requirements of ANSI A156.5. All keys shall be of nickel silver material only. All locks are to be factory keyed to the Existing Schlage master key system (which is factory maintained) as directed by Weslaco ISD and the Architect. The hardware supplier shall meet with the General Contractor, the Architect and Weslaco ISD at the project site to determine all permanent keying requirements. The hardware supplier shall provide one hundred- (100) key blanks (Stamped as required) for Weslaco ISD use and One (1) Knox Box if required by the local Fire Marshall. The contractor shall as required by the local Fire Marshall and Weslaco ISD mount install the Knox Box as instructed.

B	Furnish all locks, cylinders and Exit devices with temporary keyed construction master keyed cylinders for the duration of construction if requested by Weslaco ISD. Provide ten (10) construction keys total. The general contractor shall within thirty (30) days of the installation of permanent cylinders return all construction cylinders to the hardware supplier for full credit.

- Cylinders shall be factory keyed and factory maintained as directed by Weslaco ISD and the Architect. Provide three- (3) keys per cylinder and six- (6) master keys per master used.

- Factory stamp all keys “Do not duplicate” and with key symbol as directed by Weslaco ISD.

E.	The hardware supplier shall provide a complete copy of a factory generated bitting list that list all bittings used plus 50% expansion. The bitting list shall be accompanied with a complete keying schedule for each project. The Keying Schedule shall include the door number, lock function supplied, description of the opening location and key symbol used.

2.06	EXIT DEVICES

A.	All exit devices and trim, including electrified items, to be of one manufacturer as hereafter listed and in the hardware sets for continuity of design and consideration of warranty; electrified devices and trim to be the same series and design as mechanical devices and trim.

B.	Exit Devices to be “UL” listed for life safety. All exit devices for labeled doors shall have “UL” label for “Fire Exit Hardware”. All devices mounted on labeled wood doors are to be through-bolted or per the manufacturer’s listing requirements. All devices shall conform to NFPA 80 and NFPA 101 requirements.

C.	All exit devices to be of a heavy duty, chassis mounted design, with one-piece removable covers, eliminating necessity of removing the device from the door for standard maintenance and keying requirements.

D.	All trims to be through-bolted to the lock stile case. Lever design to be the same as specified with the lock sets.

E.	Exit Devices shall be the push bar design. All exit devices shall be mounted with sex bolts.

F.	All devices shall carry a three- (3) year warranty against manufacturing defects and workmanship.

- Exit Devices shall be Von Duprin “99” series to match existing district standards.

2.07	SURFACE MOUNTED DOOR CLOSERS

A.	All closers for this project shall be the products of a single manufacturer for continuity of design and consideration of warranty. All door closers shall be mounted as to achieve the maximum degree of opening (trim permitting).

- All closers to be heavy duty, surface-mounted, fully hydraulic, rack and pinion action with high strength cast iron or aluminum cylinder to provide control throughout the entire door opening cycle.

C.	Size all closers in accordance with the manufacturer’s recommendations at the factory.

D.	All closers to have adjustable spring power sizes 1 or 2 through 4 or 6 and separate tamper resistant, brass, non-critical regulating screw valves for closing speed, latching speed and back-check control as a standard feature unless specified otherwise.

E.	All closer covers to be rectangular, full cover type of non-ferrous, non-corrosive material painted to match closer. Provide closer covers only if provided as a standard part of the door closer package.

F.	Closers shall have heavy-duty arms. All closer arms shall be of sufficient length to accommodate the reveal depth and to insure proper installation. The hardware supplier shall provide any and all required brackets, spacers or filler plates as required by the manufacture for a proper and functional installation as part of their base bid.

G.	Supply appropriate arm assembly for each closer so that closer body and arm are mounted on non-public side of door opening and on the interior side of exterior openings, except where required otherwise in the hardware sets.

- All parallel arm mounted closers to be factory indexed to insure proper installation.

2.	Furnish heavy-duty cold forged parallel arms for all parallel arm mounted closers.

H.	Provide closers with special application and heavy-duty arms as specified in the hardware sets or as otherwise called for to insure a proper operating, long lasting opening. Drop plates and any additional brackets required for the proper installation of the door closer shall be included in the hardware supplier’s base bid.

I.	Finish: Sprayed enamel finish shall match other hardware.

J.	Provide and mount all door closers with sex bolts as provided by the manufacturer.

K.	Closers shall be LCN 4040XP & 1261 series.

2.08	DOOR STOPS AND HOLDERS

A.	Door stops are to be furnished for every door leaf. Every door is to have a floor, wall, or an overhead stop.

B.	Place doorstops in such a position that they permit maximum door swing, but do not present a hazard of obstruction. Furnish floor strikes for floor holders of proper height to engage holders of doors.

C.	Where overhead stops and holders are specified, or otherwise required for proper door operation, they are to be heavy duty and of extruded brass, bronze or stainless steel with no plastic parts as specified. The General Contractor shall provide wood blocking in all stud walls specified and scheduled to receive wall stops.

D.	Finish: Same as other hardware where available.

E.	Acceptable Products

1.	Floor and wall stops as listed in hardware sets. Equivalent products as manufactured by Ives, Rockwood and Trimco are acceptable.

2.09	PUSH PLATES, DOOR PULLS, AND KICKPLATES

A.	All push plates, door pull, kick plates and other miscellaneous hardware as listed in hardware sets. Equivalent products as manufactured by Ives, Rockwood and Trimco are acceptable.

B.	Kick plates to be 12 inches high and Mop plates to be 6 inches high, both by 2 inches or 1 inch less than door width (LDW) as specified. They are to be of 16 gauge thick stainless steel. For door with louvers or narrow bottom rails, kick plate height to be 1 inch less dimension shown from the bottom of the door to the bottom of the louver or glass.

C.	Where required armor plates, edge guards and other protective hardware shall be supplied in sizes as scheduled in the hardware sets.

D.	Finish: Same as other hardware where available.

2.10	FLUSH BOLTS AND COORDINATORS

A.	Provide Flush bolts with Dust Proof Strikes as indicated in the individual hardware sets by Ives, Rockwood and Trimco are acceptable. Finish shall match the adjacent hardware.

2.11	THRESHOLDS AND SEALS

A.	Provide materials and finishes as listed in hardware sets and manufactured by Zero. Equivalent product by National Guard Products and Reese are acceptable. All thresholds must be in accordance with the requirements of the ADA and ANSI A117.1.

B.	Provide thresholds with wood screws and plastic anchors. Supply all necessary anchoring devices for weather strip and sound seal.

- Seals shall comply with requirements of UL10C. All thresholds, door bottoms and weather strip inserts shall be a silicone based product as specified in 3.02 Hardware Sets.

D.	Seals shall comply with the requirements of the Wood Door Manufacturer’s certification requirements.

2.12	FINISHES

A.	Finishes for all hardware are as required in this specification and the hardware sets.

B.	Special care is to be taken to make uniform the finish of all various manufactured items.

2.13	DOOR SILENCERS

- Provide door silencers at all openings without gasket. Provide two- (2) each at each pair of doors 	and three- (3) or four- (4) each for each single door (coordinate with the frame manufacturer).

2.14	PROPRIETARY PRODUCTS

A.	References to specific products are used to establish quality standards of utility and performance. Unless otherwise approved provide only the specified product.

B.	All other materials, not specifically described, but required for a complete and proper finish hardware installation, are to be selected by the Contractor, subject to the approval of the Architect and Weslaco ISD.

- Architect and Weslaco ISD reserve the right to approve all the substitutions proposed for this specification. All requests for substitution to be made prior to bid in accordance with Division 1, General Requirements, and are to be in writing, hand delivered to the Architect. Two (2) copies of the manufacturer’s brochures and a physical sample of each item in the appropriate design and finish shall accompany requests for substitution.

PART 3 - EXECUTION

3.01	INSTALLATION AND SERVICE ITEMS OF FINISH HARDWARE

A.	All finish hardware shall be installed by an experienced finish hardware installer, with at least five (5) years of experience, after a pre-installation meeting between the contractor, hardware Manufacturers representative, the hardware supplier, the hollow metal supplier and the wood door supplier; if applicable.  The finish hardware installer shall be responsible for the proper installation and function of all doors and hardware.

B.	Check hardware against the reviewed hardware schedule upon delivery. Store the hardware in a dry and secure location to protect against loss and damage.

C.	Install finish hardware in accordance with approved hardware schedule and manufacturers’ printed instructions. Pre-fit hardware before finish is applied to door; remove and reinstall after finish is complete and dry. Install and adjust hardware so that parts operate smoothly, close tightly, and do not rattle.

D.	Mortise and cutting to be done neatly, and evidence of cutting to be concealed in the finished 	work. Protect all Finish hardware from scratching or other damage.

E.	The hardware supplier, general contractor, hardware installer, representatives of the lock, exit device and closer manufacturers shall after three (3) months of Weslaco ISD acceptance of the facility perform an on-site survey of the finish hardware. Any item of finish hardware found to be 	defective or out of adjustment shall be replaced or adjusted for the proper function and operation of the door assembly at the contractor’s, supplier’s and/or installer’s expense. The hardware supplier shall provide a written report of any and all affected items to the Architect and Weslaco	ISD (No Exceptions). The scheduled inspection date for the on-site inspection and adjustment of 	finish hardware shall be provided to the Architect as a part of the general contractor and hardware supplies close-out documentation for this project.

3.02	HARDWARE SETS:

HARDWARE SET # 01 – Exterior Storefront

DOORS: TYPICAL EXTERIOR STOREFRONT PAIR OF DOORS

EACH TO HAVE:

| 2 | EA | CONT. HINGE | 112HD-DOOR HEIGHT | 628 | IVE |
| --- | --- | --- | --- | --- | --- |
| 1 | EA | REMOVABLE MULLION | KR4954-STAB-MT54 | 689 | VON |
| 1 | EA | PANIC HARDWARE | 99-DT | 628 | VON |
| 1 | EA | PANIC HARDWARE | 99-NL | 628 | VON |
| 1 | EA | RIM CYLINDER | 20-022 | 626 | SCH |
| 1 | EA | MORTISE CYLINDER | 20-001 1-1/4” CAM AS REQUIRED | 626 | SCH |
| 2 | EA | SURFACE CLOSER | 4040XP SCUSH | 689 | LCN |
| 2 | EA | MOUNTING PLATE | 4040XP-18PA | 689 | LCN |
| 2 | EA | SHOE SUPPORT | 4040XP-30 | 689 | LCN |
| 2 | EA | STOP SPACER | 4040XP-61 | 689 | LCN |
| 2 | EA | DOOR BOTTOM | 50A-DOOR WIDTH | A | ZER |
| 1 | EA | THRESHOLD | 65A-E-FRAME WIDTH | A | ZER |
| 1 | EA | HEADER RAIN DRIP | 142A-FRAME HEAD PLUS 4" | A | ZER |
|  |  | WEATHER STRIP | PROVIDED BY THE DOOR MFG |  |  |

NOTE:  WIDE STILE STOREFRONT ENTRANCE DOORS MUST BE USED FOR THIS HARDWARE TO BE USED

#### WESLACO INDEPENDENT SCHOOL DISTRICT

# REPAIR AND REPLACEMENT OF DOORS AT WESLACO HIGH SCHOOL

(PROPOSAL # 20-12-05)

### PROPOSAL PRICE RESPONSE SHEET

| Item # | Description | Qty (Sets) | Cost |
| --- | --- | --- | --- |
| 1 | Replacement of Double door at WHS G-Wing with key removable mullion | 1 |  |
| 2 | Replacement of Double door at WHS G-Wing with regular center mullion | 1 |  |
| 3 | Replacement of Double door at Sepulveda Gym with key removable mullion | 2 |  |
| 4 | Replacement of Double door at Sepulveda Gym with regular center mullion | 2 |  |
|  | TOTAL COST |  |  |
| 5 | Warranty – on doors |  |
| 6 | Warranty – on labor |  |
| 7 | Time to complete work (in days) |  |

- Cost listed above includes the total removal of the existing doors, the new doors with mullion, installation of new doors and the cleanup.

- Attach a list of the equipment and the brand names being proposed.

# WESLACO INDEPENDENT SCHOOL DISTRICT

# REPAIR AND REPLACEMENT OF DOORS AT WESLACO HIGH SCHOOL

(PROPOSAL # 20-12-05)

LIST OF REFERENCES

PLEASE PROVIDE AT LEAST FOUR (4) REFERENCES WHERE YOUR COMPANY HAS PERFORMED SIMILAR TYPE WORK DURING ANY OF THE LAST FIVE (5) YEARS:

1.  SCHOOL DISTRICT / ENTITY:         	________________________________________________

CONTACT PERSON/TITLE:                  	________________________________________________

SCHOOL / BUSINESS ADDRESS:         	________________________________________________

CITY, STATE, & ZIP CODE:                  	________________________________________________

PHONE NUMBER:                         	________________________________________________

YEAR(S) WORK WAS DONE: 	________________________________________________

TYPE OF REPAIR WORK DONE      	________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

2.  SCHOOL DISTRICT / ENTITY:         	________________________________________________

CONTACT PERSON/TITLE:                  	________________________________________________

SCHOOL / BUSINESS ADDRESS:         	________________________________________________

CITY, STATE, & ZIP CODE:                  	________________________________________________

PHONE NUMBER:                         	________________________________________________

YEAR(S) WORK WAS DONE: 	________________________________________________

TYPE OF REPAIR WORK DONE      	________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

3.  SCHOOL DISTRICT / ENTITY:         	________________________________________________

CONTACT PERSON/TITLE:                  	________________________________________________

SCHOOL / BUSINESS ADDRESS:         	________________________________________________

CITY, STATE, & ZIP CODE:                  	________________________________________________

PHONE NUMBER:                         	________________________________________________

YEAR(S) WORK WAS DONE: 	________________________________________________

TYPE OF REPAIR WORK DONE      	________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

4.  SCHOOL DISTRICT / ENTITY:         	________________________________________________

CONTACT PERSON/TITLE:                  	________________________________________________

SCHOOL / BUSINESS ADDRESS:         	________________________________________________

CITY, STATE, & ZIP CODE:                  	________________________________________________

PHONE NUMBER:                         	________________________________________________

YEAR(S) WORK WAS DONE: 	________________________________________________

TYPE OF REPAIR WORK DONE      	________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

5.  SCHOOL DISTRICT / ENTITY:         	________________________________________________

CONTACT PERSON/TITLE:                  	________________________________________________

SCHOOL / BUSINESS ADDRESS:         	________________________________________________

CITY, STATE, & ZIP CODE:                  	________________________________________________

PHONE NUMBER:                         	________________________________________________

YEAR(S) WORK WAS DONE: 	________________________________________________

TYPE OF REPAIR WORK DONE      	________________________________________________

____________________________________________________________________________________

____________________________________________________________________________________

_____________                 _____________________

Date                                  Company Name

#### WESLACO INDEPENDENT SCHOOL DISTRICT

# REPAIR AND REPLACEMENT OF DOORS AT WESLACO HIGH SCHOOL

(PROPOSAL # 20-12-05)

NON-COLLUSION STATEMENT

& SIGNATURE SHEET

The undersigned affirms that he/she is duly authorized to execute this contract, that this company, corporation, firm, partnership or individual has not prepared this proposal in collusion with any other Offeror, and that the contents of this proposal as to prices, terms or conditions of said proposal have not been communicated by the undersigned nor by any employee or agent to any other person engaged in this type of business prior to the official opening of this proposal.

Further, I affirm that prior to or after the opening of this proposal, I (or any representative of my company) will not discuss the contents of this proposal with any person affiliated with Weslaco ISD, other than the Assistant Superintendent Business Finance or his Weslaco ISD Designee prior to the awarding of this proposal.  I understand that failure to observe this procedure may cause my proposal to be rejected.

I also affirm that no officer, or stockholder of the offeror (bidder) is a member of the staff, or related to any employee of the Weslaco ISD except as noted herein________________________ _____________________________________________________________________________.

By signing this proposal, vendor makes the assurance that vendor has not been debarred or suspended from conducting business with the U. S. Government according to Executive Order 12549 entitled “Debarment and Suspension.”

I, __________________________________, have read the standard terms and conditions and insurance       	Print/Type Name of Company Officer)    	requirements (Pages 5-7, 11) I fully understand them, and

will fully execute them if I am awarded this Proposal.

I have represented the truth concerning the felony conviction notification.  I have checked off one of the three statements on page 8, and have signed the form.  I am also aware of the evaluation criteria to be used to select the recommended proposal (page 10).

COMPANY _____________________________________________   EMPLOYER I. D. No.______________________

ADDRESS ______________________________________________

CITY, STATE, ZIP CODE _________________________________

AREA CODE/TELEPHONE:____________________________________   EMAIL_________________________________

______________________________     ____________________________         ________________

SIGNATURE                                              TITLE                                          DATE

WESLACO INDEPENDENT SCHOOL DISTRICT

# REPAIR AND REPLACEMENT OF DOORS AT WESLACO HIGH SCHOOL

(PROPOSAL # 20-12-05)

# CONFIDENTIAL DISCLOSURE STATEMENT

For purposes of complying with the Texas Public Information Act (the “Act”), we are asking that VENDORS interested in submitting a response to a district’s request for bids, proposals or qualifications statements INCLUDE A STATEMENT (THIS FORM) STATING WHETHER NONE, ALL, OR SOME OF THE INFORMATION SUBMITTED WITH THEIR RESPONSES IS CONSIDERED BY THE COMPANY AS CONFIDENTIAL BECAUSE IT MEETS ONE OR MORE OF THE EXCEPTIONS LISTED IN THE ACT.

Failure by the company(s) to fill out and sign this form, will release Weslaco ISD of any liabilities in the event Weslaco ISD releases information included in their bids, proposals or qualifications statements responses as a result of complying with a request for public records under the Act.

If the Confidential Disclosure Statement is properly filed, and Weslaco ISD receives a request for public records under the Act related to such vendor’s response, Weslaco ISD will seek an opinion from the Texas Attorney General’s Office as required.

This Confidential Disclosure Statement is being made by:

__________________________________________________________  to Weslaco ISD for the

(Vendor Name)

purpose of non-disclosure of various materials included in this package.   The rights and obligations of the parties with respect to such information are as follows:

- “Disclosing Party” means a party that discloses Confidential Information under this Request.  “Receiving Party” means a party that receives Confidential Information under this Request.

- “Confidential Information” means information of any kind which is obtained by Receiving Party from Disclosing Party relating to this Request and which, by appropriate marking, is identified as confidential and proprietary at the time of disclosure.

- Notwithstanding the foregoing, Confidential Information shall not include any information that:

- is publicly available prior to the Effective Date, or becomes publicly available thereafter through no breach of this Request by the Receiving Party;

- was known to the Receiving Party prior to the date of disclosure or becomes known to the Receiving Party thereafter from a third party that has no obligation to Disclosing Party to keep such information confidential;

- is independently developed by the Receiving Party without the benefit of Confidential Information of the Disclosing Party, as evidenced by written records; or

- must be produced by the Receiving Party pursuant to an order of a court of competent jurisdiction or a valid subpoena, provided that the Receiving Party promptly notifies the Disclosing Party and cooperates reasonably with the Disclosing Party’s efforts to contest or limit the scope of such order.

- The Receiving Party agrees that it will maintain the Confidential Information in confidence using a reasonable standard of care, and no less than the standard of care taken to protect its or his/her own confidential information, and will use such Confidential Information solely for the purposes of evaluating its or his/her interest in participating in a future Requests.

- As stated above, in the event Weslaco ISD receives a request for public records under the Act related to the vendor’s response, Weslaco ISD will seek an opinion from the Texas Attorney General’s Office as required.

- This Agreement shall not be construed as an obligation to enter into a Purchasing Agreement or any other subsequent relationship or agreement.

_________________________________________________ (vendor) wishes to have the following pages protected under this agreement and not be released to a third party.  The following pages are not to be disclosed unless Weslaco ISD receives authorization via an opinion from the Texas Attorney General’s Office:

NONE of the Pages in this Request for Proposals is Confidential (RFP# 20-12-05)

ALL Pages in this Request for Proposals are Confidential (RFP# 20-12-05)

ONLY Pages _____________________ are labeled as Confidential (RFP# 20-12-05)

Name of Company or Firm:_______________________________________________________

By:_______________________________________  Title:_________________________________

Signature:__________________________________ Date:_________________________________

WESLACO INDEPENDENT SCHOOL DISTRICT

# REPAIR AND REPLACEMENT OF DOORS AT WESLACO HIGH SCHOOL

(PROPOSAL # 20-12-05)

Please fill out this form and fax or email immediately to

Weslaco ISD if you intend to submit a proposal.

Will Submit proposal	            		Will NOT Submit proposal

Company Name ______________________________________________

Address ____________________________________________________

City ___________________________ State ________ Zip ____________

Telephone Number ____________________________________________

Fax Number _________________________________________________

Contact Name ________________________________________________

Email Address ________________________________________________

Please return this page to (956) 969-6565 (fax) or email to bgarcia@wisd.us

to ensure that you receive any addenda issued, if any.

OTHER REQUIRED FORMS

The forms listed below are attached as part of this proposal and are required to be completed and submitted as part of your bid package.  Your bid package may not be evaluated or awarded if any of these forms are omitted.

- Conflict of Interest Questioniare ( Form CIQ)

- Senate Bill 252 Certification Form

- House Bill 89 Verification Form

- Form 1295 Certificate of Interested Parties

- W-9

# Text boxes

# WESLACO

Independent School District

312 West Fifth Street / P.O. Box 266, Weslaco, Texas  78599-0266     (956) 969-6572

# WESLACO

Independent School District

312 West Fifth Street / P.O. Box 266, Weslaco, Texas  78599-0266     (956) 969-6572